DECLARATION OF PERFORMANCE

No.  PAN-DOP-FA042

1.    Unique identification code of the product-type:   FPGL0224

2.	Type, batch or serial number or any other element allowing identification of the construction product as required under Article 11(4):

FAGC***-14

3.	Intended use or uses of the construction product, in accordance with the applicable harmonised technical specification, as foreseen by the manufacturer:

Supply of electricity in buildings and other civil engineering works with the objective 
of limiting the generation and spread of fire and smoke

4.	Name, registered trade name or registered trade mark and contact address of the manufacturer as required under Article 11(5):

Panduit Europe Ltd.

West World, Westgate, London, W5 1UD, United Kingdom

Tel. +44 208 601 7200

Email: techsupportemea@panduit.com

5.	Where applicable, name and contact address of the authorised representative whose mandate covers the tasks specified in Article 12(2):

As above

6.	System or systems of assessment and verification of constancy of performance of the construction product as set out in CPR, Annex V:        System 1+

7.	In case of the declaration of performance concerning a construction product covered by a harmonised standard:

Notified product certification body No. 1812 performed the determination of product type, the initial inspection of the manufacturing plant and of FPC, the continuous surveillance, assessment and evaluation of the FPC and the audit testing of samples taken before placing the product on the market and issued the certificate of constancy of performance

8.	Declared performance

| Essential characteristics | Performance | Harmonised technical specification |
| --- | --- | --- |
| Reaction to fire | - B2ca s1a d1 a1 | EN50575:2014+A1:2016 |
| Dangerous substances | None |  |

9.	The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 8.

This declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.

Signed for and on behalf of the manufacturer by:

| Ralph J. Lolies, SVP/Managing Director EMEA, Panduit Europe Ltd |  |  |
| --- | --- | --- |
| United Kingdom, 10/01/2019 |  | Ralph J. Lolies |